Detailed Design Document

Sponsor Name:

Document ID: Detailed Design Document_ Consumable

Blueprint Design Document ID: LIMS_Phase2_Blueprint Design_Consumable_CN_Final

| Version No. | Authorized by | Approval date |
| --- | --- | --- |
| 1.00 |  |  |

Table of Contents

1	Table of Contents	2

1	Objective	4

2	Detailed Architecture	4

2.1	Consumables in SampleManager	4

2.1.1	Functionality Overview	4

2.1.2	Forms Modification	5

2.1.2.1	Stock Form Modification	5

2.1.2.2	Label Template.	5

2.1.2.3	Stock Batch Creation Rules	6

2.1.2.4	Sample Login	8

2.1.2.5	Sample Process	9

2.1.2.6	Stock Batch Release	9

2.1.2.7	Automatic Consumption of Stock Batches During Testing	9

2.1.2.8	Modifying Stock Batch Consumed for a Test	10

2.1.3	.NET Tasks	11

2.1.3.1	PrintLableTask	11

2.1.3.2	CheckMLPTask	11

2.1.3.3	StockBatchReleaseTask	12

2.1.3.4	AutoConsumptionTask	12

2.1.3.5	ReturnBatchTask	12

2.1.3.6	AcceptBatchTask	12

2.2	Configuration Specification	12

2.2.1	Structure Table Updates	12

2.2.1.1	Update Table: Stocks	12

2.2.2	Phrases	12

2.2.3	Master Menu	13

Return Batch (Type - RMB)	13

Accept Batch (Type - RMB)	13

2.2.4	Explorer Folder	13

Await Decision	13

Returned Stock Batches	13

Unavailable	13

2.2.5	Workflow	13

3	Change Log	13

- Objective

The purpose of this document is to describe the technical design for the Consumable, which includes When stock is placed into storage, it is essential to identify which stock types require testing. These stock types must undergo a testing process before they can be authorized for use. Consumables associated with these stock types should not be released until the test sample has been approved.

The intended audience for this document is the development team, and anyone else who will be installing, configuring, and supporting the application.

Detailed Architecture

Consumables in SampleManager

Functionality Overview

1. Stock Module Integration

- Consumables are managed within the Stock Module.

- Upon creation of a stock batch, SM automatically generates a test sample.

- Inventory lot is released automatically or manually based on sample approval and specification conformity.

- Until sample authorization, the stock batch remains in an unavailable status.

2. Key Functional Areas

A. Consumables Incoming Testing

- Trigger: Sample creation is initiated when a stock batch is created.

- Source: Stock batches may originate directly in the system or via stock order received.

MLP Mapping: A new field is introduced to map the MLP for testing.

- Sample Creation Logic:

  - If MLP is assigned, the system auto-generates a sample.

  - Lab technicians follow standard lab testing procedures.

- Sample Authorization Outcomes:

  - On Spec: Inventory becomes available.

  - Off Spec: Inventory enters awaiting decision status.

    - Manual decision required: Accept or Return.

B. Stock Batches in System

I. Auto Consumption

- Certain stock batches are automatically consumed during specific test executions.

- Product ID/Internal IDH is used to link stock batches to analyses.

- Multiple stock batches may be used across different tests.

- Substance Column is added to facilitate IDH selection during analysis.

ii. Modifying Stock Batch

- A new button in the Result Entry Window opens the Stock Consumption Window.

- Users can:

  - View stock batch and consumed quantity.

  - Modify stock batch or consumption amount only if the test is not authorized.

Instrument status is automatically updated to "Available".

Forms Modification

Stock Form Modification

One of the key additions is the MLP information. This setup allows the system to automatically generate test samples based on the defined MLP.

Auto Consumption: A checkbox setting that determines whether the stock is eligible for automatic consumption during testing processes.

Label Template: A new stock batch label template will be created as per the below format.

Stock Batch Creation Rules

1. Mandatory Fields Based on Auto Consumption

If Auto Consumption is checked in the stock master data: Expiry Date and Batch Number are mandatory when creating a stock batch.

Stock batch creation Task will be extended to include this validation.

2. Stock Order-Based Batch Creation

When a stock batch is created via Stock Order Receiving: Expiry Date and Batch Number are mandatory.

Group Information:

Fetched from Stock Master Data,

Mandatory field,

User can modify the group value

Stock batch creation Task will be extended to include this validation.

3. Label Printing Prompt

When a stock batch is created in the QCLAD system (either via stock order receiving or direct addition): A popup window appears asking for label printing quantity.

Default Settings:

Label Quantity: 1

Printer: Work Centre Printer

Label Template: Defined in Stock Master Data

User Options:

Modify label quantity

Choose a different label template

Select another QCLAD printer

Stock batch creation task will be extended to include this validation.

| Step | Validation Item | Expected Behaviour |
| --- | --- | --- |
| 1 | Auto Consumption checked | Expiry Date & Batch Number required |
| 2 | Stock Order Receiving | Expiry Date, Batch Number, Group required |
| 3 | Group field | Pre-filled from master, editable, Mandatory |
| 4 | Label printing popup appears | After Stock batch creation |
| 5 | Default label quantity | 1 |
| 6 | Default printer | Work Centre Printer |
| 7 | Default label template | From Stock Master |

Sample Login

Sample login will be triggered when a stock batch is created in the QCLAD system: Either via Stock Order Receiving or by Direct Addition

Logic Flow

1. Check for MLP in Stock Master Data

System checks if MLP is selected for the stock item.

2. If MLP is Present

A Sample is created automatically.

Sample Type: IQC-CON

Work Centre: Pulled from Substance Master Data

Stock Batch Status: Moved to "Unavailable" folder in Stock Management cabinet

3. If MLP is Not Present

No sample is created.

Stock Batch Status: Directly released to "Available" status

Stock batch creation task will be extended to include this validation.

| Step | Validation Item | Expected Behaviour |
| --- | --- | --- |
| 1 | Stock batch creation triggered | System checks MLP in stock master |
| 2 | MLP is present | Sample created with type IQC-CON |
| 3 | Sample work centre | Pulled from substance master |
| 4 | Stock batch with sample | Moved to "Unavailable" folder |
| 5 | MLP not present | Stock batch released to "Available" status |

Sample Process

Sample Listing

Consumable samples are initially listed in the "Samples Pending Receiving" folder.

Sample Receiving

Upon receiving a sample, a sample label is automatically printed by the designated work center printer.

Sample Testing

Users perform testing of the received sample by following the Lab Testing Process Workflow.

All testing procedures and documentation are managed within the Sample Management cabinet folders.

Stock Batch Release

Sample Authorization

Once all tests for a sample are authorized:

If all results meet specification criteria, the system automatically releases the associated stock batch. The batch status changes to "Available".

Exception Handling

If any test fails to meet the criteria:

The system does not release the stock batch.

The batch status changes to "Await Decision".

Users can manually decide to either return or release the batch using the right-click menu.

Returned Batches

All batches marked as returned are listed in the "Returned Stock Batches" folder.

Batch Movement

Users can move the stock batch to its designated storage location using the "Move Batch" button

Automatic Consumption of Stock Batches During Testing

To enable automatic stock consumption during a test, the following preconditions must be satisfied:

Master Data Requirements

The Analysis Master Data must include:

Stock information

Consumption quantities

Unit of measurement

All linked to the corresponding IDH

Stock Availability

There must be available stock batches that correspond to the analysis being performed.

Consumption Deduction Logic

The automatic deduction of stock during testing follows a predefined logic, this logic ensures that:

The system checks for valid master data.

It verifies stock availability.

It deducts the appropriate quantity from the relevant batch automatically.

If the actual deduction amount is less than the target amount during the automatic deduction process, the system will pop up a window to remind the user of the relevant information.

      - Extend the test life cycle workflow, test authorized event to include this logic.

Modifying Stock Batch Consumed for a Test

Accessing the Stock Consumption Window

Users initiate the process by clicking the newly added button on the Result Entry Window.

This action opens the Stock Consumption Window.

Viewing Stock Consumption Details

The system displays:

The stock batch used.

The amount consumed during the test.

Modifying Stock Consumption

Users can:

Change the stock batch.

Adjust the consumed amount.

Important Condition: Modifications are allowed only if the test has not been authorized.

As we already have the task for it (See screenshot below) and not sure if any additional changes are required for the same test.

.NET Tasks

PrintLableTask

Used to print labels for stock batch is created in the QCLAD system (either via stock order receiving or direct addition)

On click, send print job with selected parameters:

Label Quantity

Selected Printer

Selected Template

CheckMLPTask

Logic Flow

1. Check for MLP in Stock Master Data

System checks if MLP (Material Lifecycle Plan) is selected for the stock item.

2. If MLP is Present

A Sample is created automatically.

Sample Type: IQC-CON

Work Centre: Pulled from Substance Master Data

Stock Batch Status: Moved to "Unavailable" folder in Stock Management cabinet

3. If MLP is Not Present

No sample is created.

Stock Batch Status: Directly released to "Available" status

StockBatchReleaseTask

Attache the task to system event line “Sample Authorization Completed”

As soon as the test authorization finishes, the task executes

If all test pass  batch status becomes available

If any test fails batch status becomes Await Decision

If return – we will run “ReturnBatchTask” and update status as “R”

If accept – we will run “AcceptBatchTask” and update status as “A”

AutoConsumptionTask

The automatic deduction of stock during testing follows a predefined logic, this logic ensures that:

The system checks for valid master data.

It verifies stock availability.

It deducts the appropriate quantity from the relevant batch automatically.

      - Additional condition will be added to check Auto Consumption is “T” or “F” in master data

If the actual deduction amount is less than the target amount during the automatic deduction process, the system will pop up a window to remind the user of the relevant information.

ReturnBatchTask

AcceptBatchTask

Configuration Specification

Structure Table Updates

Update Table: Stocks

| Field Name | Datatype | Comments |
| --- | --- | --- |
| MLP | links_to mlp_header | Maintained in the same way as it is for other routine samples |
| Auto Consumption | Boolean | True/False value |

Phrases

Modify Phrase: Stock_B_Task

| Phrase Name | Comments | Action |
| --- | --- | --- |
| Stock_B_Task | Add new Status: | U - Unavailable W - Await Decision R - Returned Stock Batches |

Master Menu

- Return Batch (Type - RMB)

- Accept Batch (Type - RMB)

Explorer Folder

- Await Decision

- Returned Stock Batches

- Unavailable

Workflow

Extend Test Life Cycle Workflow authorization event to AutoConsumption stock batch

Change Log

| Version | Authored by | Change Date | Change Details | Reviewed by | Review Date |
| --- | --- | --- | --- | --- | --- |
| 1.00 | Madhur Sharma | 08-09-2025 | Initial Version |  |  |