## Summary
NO interface | Config | adjust rtm |  |  |  |  | SOW
|  |  |  | PPA&PPB | PPA | PPB |  | PPA&PPB | PPA | PPB
|  |  | Sample | 46 | 39 | 7
|  |  | Stock | 13 | 13
|  |  | Instrument | 6 | 6
|  |  | Retain | 2 | 2
|  |  | Security | 11 | 11
|  |  |  | 78 | 71 | 7 |  | 73 | 63 | 10
Add
|  |  | Workflow | 76 | 32 | 44 |  | 30 | 7 | 23
|  | Time1 | SUM | 154 | 103 | 51 |  | 103
|  |  | Static Data Assistance | 15 | 10 | 5 |  | same
|  |  | LES | 30 |  | 30 |  | same
|  |  | Report | 18 | 18 |  |  | same
|  |  | Label | 10 | 10 |  |  | same
|  |  | IM | 48 | 17 | 31 |  | same
|  | Time2 | SUM | 121 | 55 | 66 |  | 121 | 55 | 66
|  | Time1+2 | SUM | 275 | 158 | 117 |  | 224
buffer
Summary
因为PPB工作减少了3天（原来是10天，现在评估是7天）； 又由于workflowPPA加了5天； 又由于留样和库存需求混合，所以进一步分析，留样增加1天，库存增加5天 5+1+5-3=8天 再增加仪器2天 总计增加8+2=10天
develop
|  |  | Sample & Stock | 30
|  | Time | SUM | 305
Summary
再增加其他开发项25天 总计增加10+30=40天

## word
PPA(原) | PPA(估) | PPB(原) | PPB(估) | SOW No.
6 | 6 |  |  | 1
22 | 22 |  |  | 21
16 | 16 |  |  | 2
8 | 8 |  |  | 3
2 | 2 | 2 | 2 | 18
63 | 39 | 10 | 7 | 4,5
| 13 |  |  | 4,5
| 6 |  |  | 4,5
| 2 |  |  | 4,5
| 11 |  |  | 4,5
| 0 |  |  | 4,5
| 35 |  |  | 4,5
18 | 18 |  |  | 9
10 | 10 |  |  | 10
7 | 32 | 23 | 44 | 6
3 | 53 |  |  | 11
6 | 9 | 6 | 23 | 7
28 | 28 | 39 | 57 | 14
10 | 10 | 5 | 5 | 12
|  | 30 | 30 | 8
17 | 17 | 36 | 36 | 13
16
10 | 10 | 6 | 6 | 15
8 | 8 | 12 | 12 | 17
10 | 10 |  |  | 19
34 | 34 | 28 | 28 | 20
278 | 399 | 197 | 250
475 |  |  | 649

## Sample
gathering status | Module | Req. No. | URS Ref. | Delivery Phase | Functional Area / Workshop | Requirement | Priority | Type | Estimate
complete | Sample | R001 | 4.1.1.1.1 | Phase A |  | System shall be able to login samples using configurable templates | Must | Configuration | 6 | 46 | 39 | 7
complete | Sample | R002 | 4.1.1.1.3 | Phase A |  | System shall be able to create samples manually for standard testing. | Must | Configuration | /
complete | Sample | R003 | 4.1.1.1.4 | Phase A |  | System shall be able to create samples manually for non-standard testing. | Must | Configuration | /
complete | Sample | R006 | 4.1.1.2.2 | Phase A |  | System shall be able to create sample based on events scheduled within QCLAD. |  | Standard | 2
complete | Sample | R007 | 4.1.1.3.1 | Phase A |  | System shall assign a unique sample ID to each sample logged in. | Must | Configuration | 1
complete | Sample | R008 | 4.1.1.3.2 | Phase A |  | System shall be able to scan the Labels from MES system and fetch unique ID. |  | Customisation
complete | Sample | R009 | 4.1.1.3.4 | Phase A |  | System shall allow user to print QCLaD Labels if the Plant doesn’t use MES system. | Must | Standard | /
complete | Sample | R010 | 4.1.1.4.1 | Phase A |  | System shall be able to retrive the sample receive date and time. | Must | Standard | /
complete | Sample | R011 | 4.1.1.5.1 | Phase A |  | System shall be able to allow privileged users to cancel samples. | Must | Standard | /
complete | Sample | R012 | 4.1.1.5.2 | Phase A |  | System shall be able to add a mandatory comment for the cancellation. |  | Configuration | 1
complete | Sample | R013 | 4.1.1.6.1 | Phase A |  | System shall be able to define configurable attributes for a sample which can be modified. | Must | Standard | /
complete | Sample | R014 | 4.1.1.7.1 | Phase A |  | System shall be able to allow the definition of sample types and test schedule. | Must | Standard | 1
complete | Sample | R016 | 4.1.1.8.1 | Phase A |  | System shall be able to log in either single or multiple samples from the same batch. | Must | Standard | /
complete | Sample | R017 | 4.1.1.9.1 | Phase A |  | The system shall be able to split samples. | Must | Standard | /
complete | Sample | R019 | 4.1.1.10.1 | Phase A |  | System shall be able to log in non routine samples. | Must | Standard | /
complete | Sample | R020 | 4.1.1.10.2 | Phase A |  | System shall allow specific user to select specifications and test methods for non routine samples. | Must | Standard | /
complete | Sample | R021 | 4.1.1.11.1 | Phase A |  | system shall be able to retest. | Must | Configuration | 2
complete | Sample | R022 | 4.1.1.11.2 | Phase A |  | System shall be record all failure as well as success of parameters in QCLAD. | Must | Standard | /
complete | Sample | R024 | 4.1.1.12.1 | Phase A |  | System shall be able to resample and association with the original sample. | Must | Standard | /
complete | Sample | R025 | 4.1.1.13.1 | Phase A |  | System shall be able to associate MLP to the tests for a sample. | Must | Standard | /
complete | Sample | R028 | 4.1.1.14.2 | Phase A |  | System shall support modify specialist analysts and group restriction during the sample life cycle. | Must | Configuration | 1
complete | Sample | R029 | 4.1.1.15.1 | Phase A |  | System shall be able to allow user to enter comments at Sample log-in. | Must | Configuration | /
complete | Sample | R030 | 4.1.1.16.1 | Phase A |  | System shall be able to scan barcode or QRCode and match barcode or QRCode sample in QCLAD system. |  | Customisation
complete | Sample | R031 | 4.1.1.17.1 | Phase A |  | System shall be automatically login samples from a schedule. | Must | Standard | /
complete | Sample | R034 | 4.1.1.18.1 | Phase A |  | Sytem shall be able to allow entry / modification of attribute data at point of single or multiple sample receipt using configurable templates. | Must | Configuration | /
complete | Sample | R035 | 4.1.1.18.2 | Phase A |  | System shall be able to receive sample by scanning MES label |  | Customisation
pending | Sample | R037 | 4.1.1.19.1 | Phase A | Mark | The system shall provide functionality to allow entry of any irregularities recorded(log form like google form delete) sample according to laboratory business rules. |  | Standard | /
pending | Sample | R038 | 4.1.1.19.2 | Phase A |  | The system shall provide functionality to allow entry of any route sample according to laboratory business rules. (still confusing)
complete | Sample |  | 4.1.1.20.1 | Phase A |  | System shall allow users to modify sample attributes after sample receipt. | Must | Configuration | 1
complete | Sample |  | 4.1.2.3.1 | Phase A |  | System shall be able to display all results data to the sample. | Must | Standard | /
complete | Sample |  | 4.1.2.4.1 | Phase A |  | System shall be able to calculate results based on reported or recorded data which from instruments. | Must | Configuration | 2
complete | Sample |  | 4.1.2.5.1 | Phase A |  | System shall be able to record all data in whole testing process, including raw data captured from instrument, entry data, data calculated by formular, reported data, data which push to SAP. |  | Standard | /
complete | Sample |  | 4.1.2.5.2 | Phase A |  | System shall be able to mark final results against specification limits and flag failures. | Must | Configuration | 1
complete | Sample |  | 4.1.2.7.1 | Phase A |  | System shall be able to support results entry for multiple tests performed on a single sample. | Must | Standard | /
complete | Sample |  | 4.1.2.8.1 | Phase A |  | System shall be able to support results entry for an individual test on a single sample. | Must | Standard | /
complete | Sample |  | 4.1.29.1 | Phase A |  | System shall be able to support results entry for single or multiple tests performed on multiple samples. | Must | Standard | /
complete | Sample |  | 4.1.2.10.1 | Phase A |  | System shall be able to verify entered results data (e.g., pH, sample color, specific gravity) against specification limits. | Must | Standard | /
complete | Sample |  | 4.1.2.11.1 | Phase A |  | System shall be able to prevent the acceptance of partial or incomplete data entry for results and active samples. | Must | Configuration | 1
complete | Sample |  | 4.1.2.13.1 | Phase A |  | System shall be able to support multipe analysis type, including numeric, text, characters, calculated, file, Boolean and optional. | Must | Standard | /
complete | Sample |  | 4.1.2.14.1 | Phase A |  | System shall be able to entry result data manually. | Must | Standard | /
complete | Sample |  | 4.1.2.15.1 | Phase A |  | System shall support attachment format: Xps, txt, resx, repx, xml, rtf, jpg, jpeg, img, svg, doc, pdf, ico, png, lbl, resources, caf, csv, log, msg, smpkg. | Must | Standard | /
complete | Sample |  | 4.1.2.21.1 | Phase A |  | System shall be able to record multiple users against a test or result. | Must | Standard | 1
complete | Sample |  | 4.1.2.22.1 | Phase A |  | System shall be able to retest without loss of original data. | Must | Configuration | /
complete | Sample |  | 4.1.2.23.1 | Phase A |  | System shall be able to enforce entry of a justification if there is a retest/resample. | Must | Configuration | 1
complete | Sample |  | 4.1.2.23.2 | Phase A |  | system shall be able to record comment as mandatory and it is configurable. | Must | Configuration | 1
complete | Sample |  | 4.1.2.25.1 | Phase A |  | System shall be able to enforce peer review by a different user at the material group level. | Must | Configuration | 1
complete | Sample |  | 4.1.2.25.2 | Phase A |  | System shall be able to support peer review by configurable option. | Must | Configuration | /
complete | Sample |  | 4.1.2.26.1 | Phase A |  | System shall allow the peer review of results by Single sample, Multi test and Multi sample, single test where required. | Must | Standard | /
complete | Sample |  | 4.1.2.27.1 | Phase A |  | System shall prevent user from further modification on test data after peer review except authorized user and audit trail will be record. | Must | Configuration | 1
complete | Sample |  | 4.1.3.1.1 | Phase A |  | System shall be able to approve individual results. | Must | Standard | /
complete | Sample |  | 4.1.3.1.2 | Phase A |  | System shall be able to support configure approve option within workflow. | Must | Configuration | 1
complete | Sample |  | 4.1.3.2.1 | Phase A |  | System shall be able to approve single or multiple samples. | Must | Standard | /
complete | Sample |  | 4.1.3.3.1 | Phase A |  | System shall prevent user from further modification on test data after peer review. | Must | Configuration | /
complete | Sample |  | 4.1.3.3.2 | Phase A |  | System shall be able to return test to tester if result need modification . | Must | Configuration | /
complete | Sample |  | 4.1.3.3.3 | Phase A |  | System shall be able to support return test to another operator. |  | Customisation
complete | Sample |  | 4.1.3.4.1 | Phase A |  | System shall be able to configure system approval functionality at test level and sample level. | Must | Configuration | 1
complete | Sample |  | 4.1.3.5.1 | Phase A |  | System shall be able to approval manually at test level and sample level. | Must | Configuration | /
complete | Sample |  | 4.1.3.6.1 | Phase B |  | System shall prevent the sample authorization with incomplete testing and alert defined users to the situation in folder. | Must | Configuration | 1
complete | Sample |  | 4.1.3.6.2 | Phase A |  | System shall only have one status of a sample in one time. | Must | Standard | /
complete | Sample |  | 4.1.3.7.1 | Phase A |  | System shall allow authorized users to change the status of a sample to allow controlled modifications or entry data. | Must | Configuration | 1
complete | Sample |  | 4.1.3.8.1 | Phase A |  | System shall allow certain authorized users to change the proposed user for testing. | Must | Configuration | 1
complete | Sample |  | 4.1.3.9.1 | Phase A |  | System shall provide a way to check and indicate the results/samples waiting for approval. | Must | Configuration | 1
complete | Sample |  | 4.1.4.14.1 | Phase B |  | System shall be able to send notifications and alert messages within folders. | Must | Configuration | 3
complete | Sample |  | 4.1.4.6.1 | Phase A |  | System shall provide functionality to manually or automatically trigger a report in response to workflow events. |  | Configuration | 1
complete | Sample |  | 4.1.6.1.1 | Phase A |  | System shall be able to maintain location. | Must | Standard | /
complete | Sample |  | 4.1.7.1.1 | Phase A |  | System shall be able to manage external test request using non-standard testing workflow.(4.1.5.1.4-4.1.5.13) |  | Customisation
complete | Sample |  | 4.1.7.1.2 | Phase A |  | System shall be able to allow QCLaD users to raise test request. |  | Configuration | /
complete | Sample |  | 4.1.7.1.4 | Phase A |  | System shall be able to use template to allow user to select plant, analysis,expected complete date and comments. |  | Configuration | /
complete | Sample |  | 4.1.7.1.6 | Phase A |  | System shall be able to allow QC supervisor to approve the test requirement. | Must | Configuration | /
complete | Sample |  | 4.1.7.1.7 | Phase B |  | System shall be able to enter results, report results, generate test report and send test report to requestor’s E-mail address. |  | Customisation
complete | Sample |  | 4.2.1.1.1 | Phase A |  | System shall be able to have option for a sample preparation which may be required for some analysis. | Must | Standard | /
complete | Sample |  | 4.2.1.1.2 | Phase A |  | System shall be able to assign preparation to an operator. | Must | Customisation
complete | Sample |  | 4.2.1.1.3 | Phase A |  | System shall be able to have multiple preparaiton for a analysis. |  | Customisation
complete | Sample |  | 4.2.1.1.4 | Phase A |  | System shall be able to assign multiple instruments for preparation. |  | Customisation
complete | Sample |  | 4.2.1.1.5 | Phase A |  | System shall be able to assign test to an operator for each test. | Must | Customisation
complete | Sample |  | 4.2.1.1.7 | Phase A |  | System shall allow to assign instrument from the list available for the lab for each test by the operator. | Must | Configuration | 2
complete | Sample |  | 4.2.1.1.9 | Phase A |  | System shall be able to select instrument by scanning. |  | Standard | /
complete | Sample |  | 4.2.1.1.21 | Phase A |  | System shall be able to maintain master data which mapping analysis and instrument type. | Must | Standard | /
complete | Sample |  | 4.3.2.2.1 | Phase A |  | System shall be able support to input the testing data manually. |  | Standard | /
complete | Sample |  | 4.4.1.1.2 | Phase A |  | System shall be able to view the status of testing, details of inspection lot. |  | Configuration | 3
complete | Sample |  | 4.4.1.1.3 | Phase A |  | System shall be able to record standard cycle time and actual cycle time under test level. |  | Customisation
complete | Sample |  | 4.4.1.11.1 | Phase B |  | System shall support execute and maintain MSA plan. |  | Configuration | 2
complete | Sample |  | 4.4.1.11.2 | Phase B |  | System shall support remind MSA according to plan and remind expiration. |  | Configuration | 1
complete | Sample |  | 4.5.4.1 |  |  | System shall allow result values can be modified with a pre-defined rules or other calculations automatically. |  | Standard | /
complete | Sample |  | 4.5.4.2 |  |  | System shall support the specification limit can be setup in the QCLAD and is associated to each result. |  | Standard | /
complete | Sample |  | 4.6.1.1.5 | Phase A |  | System shall support report can be filtered by material, technology (product technology information should from SAP) in folder. |  | Configuration | 1
complete | Sample |  | 4.6.1.9.1 | Phase A |  | System shall support export data based on sample type, analysis, test schedule, login time, standard time by folder. |  | Standard | /
complete | Sample |  | 4.6.1.14.1 | Phase A |  | System shall display the quantity of MSA task completed in system, completed shall be triggered by uploading MSA report to QCLAD. |  | Configuration | 1
complete | Sample |  | 4.7.1.1.1 | Phase A |  | System shall support to track sample life history (Chain of Custody). | Must | Configuration | 1
complete | Sample |  | 4.7.1.1.2 | Phase A |  | System shall support to display samples and test results by batch number. |  | Standard | /
complete | Sample |  | 4.7.1.3.1 | Phase A |  | The user shall be able to view all the information about a sample including current status in QCLaD folder. |  | Standard | /
complete | Sample |  | 4.7.1.4.2 | Phase A |  | System shall update sample status automatically according to workflow. |  | Standard | /
complete | Sample |  | 4.7.1.5.1 | Phase A |  | System shall supoort to display the current status of test(s) for a sample. |  | Standard | /
complete | Sample |  | 4.7.2.1.1 | Phase A |  | System shall support multiple languages. (Chinese and English will be implemented in Dragon pilot phase.) |  | Customisation
complete | Sample |  | 4.7.2.3.1 | Phase A |  | System shall support to display sample status and location in real time. |  | Standard | /
complete | Sample |  | 4.7.2.4.1 | Phase A |  | system shall support to display results for peer and supervisor review in real time. |  | Standard | /
complete | Sample |  | 4.7.2.4.2 | Phase A |  | hard copy print requirement refers to RTM 4.4.1.10.1. |  | Standard | /
complete | Sample |  | 4.7.2.6.1 | Phase A |  | system shall support to export data through folder explorer in XML / CSV/ PDF format. |  | Standard | /
complete | Sample |  | 4.7.2.7.1 | Phase A |  | System shall support to export data through folder explorer in an usable format. |  | Standard | /
complete | Sample |  | 4.7.2.8.1 | Phase A |  | System shall provide a simple template or method for extraction of data. |  | Standard | /
complete | Sample |  | 4.7.2.9.1 | Phase A |  | System shall support to search for datasets or components by combination of fields in folder explorer. |  | Standard | /
complete | Sample |  | 4.7.2.10.1 | Phase A |  | System shall support user to create personal folder by saved defined one or more criteria to display certain data. |  | Standard | /
complete | Sample |  | 4.8.1.5.1 | Phase A |  | System shall only allow tests assign to qualified users. |  | Configuration | /
complete | Sample |  | 4.8.4.1.1 | Phase A |  | System shall support for multi-level Product Specifications. |  | Standard | /
complete | Sample |  | 4.8.4.2.1 | Phase A |  | System shall support to add approval plan for non-standard testing MLP, which requires approval before activation. |  | Configuration | 1
Note on D1: This is colmun is typically used to refer to the URS or RFP requirement number
Note on G3: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: It should be used also for standard testing. Ex: Truck RM, 903 - IPQC, non MES plants. Need a configuration to identify these scenarios
Note on G9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Date and time
Note on G10: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Need to add a mandatory comment for the cancellation.
Note on G12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Do we need to mention some examples of configurable attributes to ensure both teams are on same page? Reply: Thermofisher will provide the details for henkel to choose
Note on G15: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Provision for traceability of split samples with a parent sample should be available
Note on G17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Should be access driven, only specific users with right roles can create or modify
Note on G18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: If the test is failed and need to retest - Based on the sample number, multiple inspection points to be created in SAP for all standard testing flows. This is to record all failure as well as success of parameters in SAP.
Note on G21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Specification limit to be pulled from SAP inspection plan
Note on G24: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: It can be barcode or QRCode
Note on G30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: What all attributes can be modified should be configurable and access driven.
Note on G31: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: For RM, in case CoA data already available in SAP inspection lot, the details should be displayed even if the data entry is not required in QCLAD Reply: Details: Data recorded within inspection lot, MIC, Spec, Test result
Note on G32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The instructions of calculations, lab instruments to be pulled from SOP. Reply: Approved by Thermofisher 2024/06/18
Note on G37: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Multiple test, samples can be from different materials, material types(Raw material, Semi finished goods, finished goods) Reply: Approved by Thermofisher 2024/06/18
Note on G39: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Only for active samples.
Note on G43: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Recording one result should be 1 user responsibility but test can be started by one person and continued by another person. Reply: Confimed with Thermofisher 2024/06/18
Note on G47: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Peer review should be configurable at material group level Reply: There should be configurable option.
Note on G55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Return to tester - reviewer should be able to select the operator and sample status have to be changed back to test status
Note on G80: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: For Type C and type D only manual entry. It should also override the results recorded from Type A and Type B in case there are any issues in data capture.
Note on G81: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: System shall display standard cycle time, operator id who is performing the task, items consumed in the test process and its quantity. We also need to check whether it is possible to get actual cycle time of sample testing. Reply: For cycle time of test under MIC level, the system should be able to compare standard cycle time to actual cycle time. Reply: Update
Note on G104: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: System should not allow the user to take a testing task if the operator is not qualified Reply: Agreed. Reply: Update

## Stock
gathering status | Module | Req. No. | URS Ref. | Delivery Phase | Functional Area / Workshop | Requirement | Priority | Type | Estimate
complete | Stock |  | 4.1.6.1.2 | Phase A |  | System shall be able to support QC retain sample, consumables and spare parts can select location. | Must | Standard | / | 13 | 13
complete | Stock |  | 4.1.6.1.3 | Phase A |  | System shall be able to maintain safety stock of consumables and spare parts. | Must | Standard | /
complete | Stock |  | 4.1.6.1.4 | Phase A |  | System shall be able to maintain storage condition for retain samples, consumables and spare parts. | Must | Standard | /
complete | Stock |  | 4.8.1.6.1 | Phase A |  | System shall alert specific user when chemicals or instruments is/are expired list in folder. |  | Configuration | 2
complete | Stock |  | 4.8.1.7.1 | Phase A |  | System shall have capability to maintain master data for consumable, spare parts, equipment. |  | Standard | /
complete | Stock |  | 4.8.5.1.1 | Phase A |  | System shall support stock mangement to maintain informations including characteristics (labels, location, available amount), ordering (supplier, expiry warning, minimum quantity (safety stock) alert), inventory, parameters for use in calculations. |  | Configuration | 2
complete | Stock |  | 4.8.5.1.2 | Phase A |  | System shall support stock mangement to maintain stock type including retain samples, consumables, standards, reagents, instruments, spare parts. |  | Configuration | 2
complete | Stock |  | 4.8.5.1.4 | Phase A |  | System shall be able to set and configurate minimum quantity in stock mangement. |  | Standard | /
complete | Stock |  | 4.8.5.1.5 | Phase A |  | System shall be able to set and configurate maximum quantity in stock mangement. |  | Customisation
complete | Stock |  | 4.8.5.1.6 | Phase A |  | System shall support to print stock label. |  | Standard | /
complete | Stock |  | 4.8.5.1.7 | Phase A |  | System shall automatically deduct the stock quantity when consumption. |  | Configuration | 3
complete | Stock |  | 4.8.5.5.1 | Phase A |  | System shall be able to maintain the expiry date field of stock. |  | Standard | /
complete | Stock |  | 4.8.5.5.2 | Phase A |  | System shall be able to display the expiry date field of stock in folder. |  | Configuration | 1
complete | Stock |  | 4.8.5.6.1 | Phase A |  | System shall be able to warining for expiry stock in folder. |  | Standard | /
complete | Stock |  | 4.8.5.6.2 | Phase A |  | System shall be able to warining for Low amount storage in folder. |  | Standard | /
complete | Stock |  | 4.8.5.6.3 | Phase A |  | System shall be able to warining for Exceed amount storage in folder. |  | Customisation
complete | Stock |  | 4.8.5.8.1 | Phase A |  | System shall support to maintain stock information , including handling and storage precautions, security data, associated hazards and risks and GHS requirement. |  | Configuration | 3
Note on D1: This is colmun is typically used to refer to the URS or RFP requirement number
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The fields for master data to be agreed by both teams Reply: Agree
Note on G9: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: do we also need maximum quantity? Reply: Yes, for flammable and explosive reagents Reply: TF need to add maximum part also Reply: update
Note on G18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: GHS information to be pulled from SAP system Reply: update

## Instrument
gathering status | Module | Req. No. | URS Ref. | Delivery Phase | Functional Area / Workshop | Requirement | Priority | Type | Estimate
complete | Instrument |  | 4.2.1.1.8 | Phase A |  | System shall be able to display all the instruments (typeA, typeB, type C, typeD) based on the location and method. | Must | Configuration | 1 | 6
complete | Instrument |  | 4.6.1.12.1 | Phase A |  | System shall allow user to add maintenance plan. Maintenance plan shall include PM(preventive maintenance) type. |  | Configuration | 1
complete | Instrument |  | 4.8.1.1.1 | Phase A |  | System shall support maintain specification and parameters in equipment master data. |  | Standard | /
complete | Instrument |  | 4.8.1.1.2 | Phase A |  | System shall allow maintain spare parts, calibration and maintenance. |  | Standard | /
complete | Instrument |  | 4.8.1.2.1 | Phase A |  | System shall suport calibration and maintenance plan locally. |  | Standard | /
complete | Instrument |  | 4.8.1.2.2 | Phase A |  | System shall remind user when instrument maintenance expire in folder. |  | Configuration | 2
complete | Instrument |  | 4.8.1.3.1 | Phase A |  | System shall support to record instrument history , including failures, calibration, maintenance. |  | Standard | /
complete | Instrument |  | 4.8.1.6.2 | Phase A |  | System shall allow specific user to active expired instrument. |  | Configuration | 2
Note on D1: This is colmun is typically used to refer to the URS or RFP requirement number
Note on G4: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Specification and parameters have to be maintained in equipment master data whereas the details of spare parts, calibration and maintenance requirements to be available in their respective SOPs. Reply: Update

## Retain
gathering status | Module | Req. No. | URS Ref. | Delivery Phase | Functional Area / Workshop | Requirement | Priority | Type | Estimate
complete | Retain |  | 4.8.5.3.1 | Phase A |  | System shall allow user to record and retrieve the storage location of samples stored in QC by providing material, batch information. |  | Standard | 2 | 2
Note on D1: This is colmun is typically used to refer to the URS or RFP requirement number
Note on G2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The understanding, by giving the material and batch, we should be able to retrieve the storage location for consumables, retain sample Reply: Exactly Reply: update

## Security
gathering status | Module | Req. No. | URS Ref. | Delivery Phase | Functional Area / Workshop | Requirement | Priority | Type | Estimate
complete | Security | R018 | 4.1.1.9.2 | Phase A |  | System shall be able to display the traceability of split samples with a parent sample. |  | Standard | / | 11 | 0
complete | Security | R027 | 4.1.1.14.1 | Phase A |  | System shall be able to control data access by group. | Must | Standard | /
complete | Security |  | 4.1.2.19.2 | Phase B |  | System shall support audit traceability in LES. |  | Standard | /
complete | Security |  | 4.7.1.2.1 | Phase A |  | System shall support to track data entry history and modification history. |  | Configuration | /
complete | Security |  | 4.7.1.6.1 | Phase A |  | System shall support to track a history of a sample lifecycle. |  | Configuration | /
complete | Security |  | 4.7.2.2.1 | Phase A |  | System shall support data access control by function department or by user role. |  | Standard | 10
complete | Security |  | 4.7.2.2.2 | Phase A |  | System shall support to configure user's role and group. |  | Standard | /
complete | Security |  | 4.7.2.11.1 | Phase A |  | System shall provide full audit trails. |  | Standard | /
complete | Security |  | 4.7.2.11.2 | Phase A |  | System shall support all audit trails shall be secure, computer generated, time stamped using the local time. |  | Standard | /
complete | Security |  | 4.7.2.11.4 | Phase A |  | System shall support audit trial shall include the date and time, retention of original data, reason for change to original data and the individual performing the task. |  | Standard | /
complete | Security |  | 4.7.2.11.5 | Phase A |  | System shall be able to support all data entry, recording of reporting processes and all changes to the reported data shall be recorded along with any deletion of data. |  | Standard | /
complete | Security |  | 4.7.2.12.1 | Phase A |  | System shall support audit trail for all creation, modification and approval associated with static data. |  | Standard | /
complete | Security |  | 4.7.2.13.1 | Phase A |  | System shall support to display, print or export any / all audit trails. |  | Standard | /
complete | Security |  | 4.7.2.14.1 | Phase A |  | System shall support to export the audit trail into a report. |  | Standard | /
complete | Security |  | 4.8.2.1.1 | Phase A |  | System shall allow specific user to maintain user accounts, roles and groups. |  | Standard | /
complete | Security |  | 4.8.2.1.2 | Phase A |  | System shall allow specific user to maintain lab static data. |  | Standard | /
complete | Security |  | 4.8.2.2.1 | Phase A |  | System shall allow the group of users to access to data only under his groups. |  | Standard | /
complete | Security |  | 4.8.2.2.2 | Phase A |  | System shall support to configure user's group. |  | Standard | /
complete | Security |  | 4.9.1.1 | Phase A |  | System shall support function for security, including audit trails, group and security management, password protection of all login accounts. |  | Standard | /
complete | Security |  | 4.9.2.1 | Phase A |  | System shall support to configure multiple roles for user to manage permission to profiles and access privileges.(一个人可以有多个角色） |  | Standard | /
complete | Security |  | 4.9.2.2 | Phase A |  | System shall support to maintain different roles. |  | Standard | /
complete | Security |  | 4.9.3.1 | Phase A |  | System shall support configure access controls using role and master menu.(系统通过角色和菜单按钮控制可见权限） |  | Standard | /
complete | Security |  | 4.9.4.1 | Phase A |  | System shall support maintain user account id and password. User id shall be unique.（一个人必须有一个唯一的账号，且有密码） |  | Standard | /
complete | Security |  | 4.9.4.2 | Phase A |  | System shall encrypt or obscured password when displayed on screen.（密码是加密的） |  | Standard | /
complete | Security |  | 4.9.5.1 | Phase A |  | System shall support single sign on for all users. |  | Standard | /
complete | Security |  | 4.9.5.3 | Phase A |  | System shall allow user to login through iPad with user id and password. |  | Standard | /
complete | Security |  | 4.9.5.4 | Phase A |  | System shall be able to limit user to login QCLAD using one account for one device or cilent at one time. |  | Standard | /
complete | Security |  | 4.9.6.1 | Phase A |  | System shall be able to freeze user's account after configurable login failure attempts. (多次输错密码冻结账户） |  | Standard | /
complete | Security |  | 4.9.6.2 | Phase A |  | System shall allow specific user to unlock the account or reset the password.（管理员能够解锁和重置密码） |  | Standard | /
complete | Security |  | 4.9.7.1 | Phase A |  | System shall support system Administrator to terminate a user session on the system.(管理员终止用户进程） |  | Configuration | 1
complete | Security |  | 4.9.8.1 | Phase A |  | System shall support maintain global admin/user role. |  | Standard | /
complete | Security |  | 4.9.8.2 | Phase A |  | System shall support maintain regional admin/user role. |  | Standard | /
complete | Security |  | 4.9.8.3 | Phase A |  | System shall support maintain site admin/user role. |  | Standard | /
complete | Security |  | 4.9.8.4 | Phase A |  | System shall support to work independently, perform activities, capabilities at plant level. |  | Standard | /
Note on D1: This is colmun is typically used to refer to the URS or RFP requirement number

## Workflow
complete |  | 4.1.5.1 |  | Henkel Sample Type | The system should be capable to manage all sample types in Henkel, including, Standard test sample to support production: raw material sample (ROH), semi-finish goods sample/ bulk sample (UNB & UNF), finish goods sample (FER). Non-standard test sample: consumable, package material, instrument calibration sample, MSA test sample, CCMS/SCMS/NCMR investigation sample (QM notification Q1/Q2/Q3), special test sample (Testing for Customer/Supplier/PD/AE/Other sites/MOC/NPI / Improvement project), retain sample, etc. | Must
complete | Sample | 4.1.5.1.1 | Phase A |  | System shall be able to manage Standard RM test for Incoming workflow. |  | Configuration | 10 | 76 | 32 | 44
complete | Sample | 4.1.5.1.2 | Phase A |  | System shall be able to manage Standard in process testing for semi finished and finished goods workflow. |  | Configuration | 10
complete | Sample | 4.1.5.1.3 | Phase A |  | System shall be able to manage Standard finished goods outgoing test workflow. |  | Configuration | 6
complete | Sample | 4.1.5.1.4 | Phase A |  | System shall be able to manage Consumables incoming test workflow. |  | Configuration | 6
complete | Sample | 4.1.5.1.5 | Phase B |  | System shall be able to manage package material incoming test workflow. |  | Configuration | 6
complete | Sample | 4.1.5.1.6 | Phase B |  | System shall be able to manage instrument calibration sample test workflow. |  | Configuration | 6
complete | Sample | 4.1.5.1.7 | Phase B |  | System shall be able to manage test for MSA workflow. |  | Configuration | 6
complete | Sample | 4.1.5.1.8 | Phase B |  | System shall be able to manage Certification test for QC technician workflow. |  | Configuration | 2
complete | Sample | 4.1.5.1.9 | Phase B |  | System shall be able to manage Test for SCMS/NCMR /CCMS investigation workflow. |  | Configuration | 6
complete | Sample | 4.1.5.1.10 | Phase B |  | System shall be able to manage Test for NCMR-Shelf life extension (RM, SFG, FG, Package material, consumble & Instrument calibration sample) workflow. |  | Configuration | 6
complete | Sample | 4.1.5.1.11 | Phase B |  | System shall be able to manage Testing for Customer/Supplier/PD/TCS/Other sites/MOC/NPI / Improvement project (Including, Stability studies (shelf-life study, aging test, reliability test, etc.)) workflow. |  | Configuration | 4
complete | Sample | 4.1.5.1.12 | Phase B |  | System shall be able to manage Moving sample/material to storage location workflow. |  | Configuration | 6
complete | Sample | 4.1.5.1.13 | Phase B |  | System shall be able to manage Perform skip lot testing workflow. |  | Configuration | 2

## Customization
gathering status | Module | Req. No. | URS Ref. | Delivery Phase | Functional Area / Workshop | Requirement | Priority | Type | Estimate
complete | Interface | R004 | 4.1.1.2.1 | Phase A |  | System shall be able to receive inspection lot from SAP and create sample and test. Refer to 4.5.1.1 |  | Customisation |  | 120 | 89 | 26 | 5
complete | Interface | R005 | 4.1.1.2.2 | Phase B |  | System shall be able to trigger a resample from MES. |  | Customisation |  |  |  | sample | stock | Report&Label | Notification | LES
complete | Sample | R008 | 4.1.1.3.2 | Phase A |  | System shall be able to scan the Labels from MES system and fetch unique ID. |  | Customisation | 2 |  |  | 21 | 5 | 2 | 2 | 5 | 35
complete | Interface | R023 | 4.1.1.11.3 | Phase A |  | System shall be push all failure as well as success of parameters to SAP. Refer to 4.5.1.7 |  | Customisation |  |  |  | Dashboard | Assignment
complete | Interface | R026 | 4.1.1.13.2 | Phase A |  | System shall be receive specification limit to be pulled from SAP. Refer to 4.5.1.3 |  | Customisation |  |  |  | 53 | 32
complete | Sample | R030 | 4.1.1.16.1 | Phase A |  | System shall be able to scan barcode or QRCode and match barcode or QRCode sample in QCLAD system. |  | Customisation | 2
complete | Interface | R032 | 4.1.1.17.2 | Phase A |  | System shall be automatically login samples from SAP. Refer to 4.5.1.1 |  | Customisation
complete | Interface | R033 | 4.1.1.17.3 | Phase B |  | System shall be automatically login samples from MES. |  | Customisation
complete | Sample | R035 | 4.1.1.18.2 | Phase A |  | System shall be able to receive sample by scanning MES label |  | Customisation | 2
complete | Assignment |  | 4.1.2.1.1 | Phase A |  | System shall be able to assign tests to an operator manually or automatically. |  | Customisation | 2
complete | Assignment |  | 4.1.2.1.2 | Phase A |  | Automatically assigning details refer to 4.2.1.1 part. |  | Customisation
complete | Assignment |  | 4.1.2.1.3 | Phase A |  | System shall support to stop or modify auto assign task. |  | Customisation | 2
complete | Assignment |  | 4.1.2.1.4 | Phase B |  | System shall be able to assign test based on the versatility matrix from OSDP system once integrated. |  | Customisation
complete | Interface |  | 4.1.2.3.2 | Phase A |  | System shall be able to retrive the result data in CoA data already available in SAP inspection lot. |  | Customisation
complete | Interface |  | 4.1.2.3.3 | Phase A |  | System shall be able to display the Data recorded within inspection lot, MIC, Spec, Test result from the CoA in SAP even if the data entry is not required in QCLAD. ( What's the detail, need to check with Neelima delete) |  | Customisation
complete | Interface |  | 4.1.2.6.1 | Phase A |  | System shall be able to support to manage repeat testing.(e.g. entry multiple results and then get max or min or average value) |  | Customisation
pending | Dashboard |  | 4.1.2.28.2 |  |  | System shall provide dashboard. |  | Customisation | 2
complete | Sample |  | 4.1.3.3.3 | Phase A |  | System shall be able to support return test to another operator. |  | Customisation | 2
complete | Report&Label |  | 4.1.4.13.2 | Phase A |  | System shall be able to give warning of response if user selects a range which will take time. |  | Customisation | 2
complete | Notification |  | 4.1.4.15.4 | Phase B |  | System shall be able to send email with attachment to dedicate E-mail address based on master data configuration or store the file in a configurable shared drive automatically. |  | Customisation | 2
complete | Dashboard |  | 4.1.6.1.5 | Phase A |  | System shall support dashboard to display and mark in color once the sample near expiration date based on configurable rule. |  | Customisation | 1
complete | Dashboard |  | 4.1.6.1.6 | Phase A |  | System shall support dashboard to display and mark in color once it’s below safety stock of consumables and spare parts based on configurable rule. |  | Customisation | 2
complete | Sample |  | 4.1.7.1.1 | Phase A |  | System shall be able to manage external test request using non-standard testing workflow.(4.1.5.1.4-4.1.5.13) |  | Customisation | 5
complete | Sample |  | 4.1.7.1.7 | Phase B |  | System shall be able to enter results, report results, generate test report and send test report to requestor’s E-mail address. |  | Customisation | 2
complete | Dashboard |  | 4.1.7.1.8 | Phase A |  | System shall be able to track the test status, analysis test workload and show it on Dashboard. |  | Customisation | 3
complete | Sample |  | 4.2.1.1.2 | Phase A |  | System shall be able to assign preparation to an operator. | Must | Customisation
complete | Sample |  | 4.2.1.1.3 | Phase A |  | System shall be able to have multiple preparaiton for a analysis. |  | Customisation | 2
complete | Sample |  | 4.2.1.1.4 | Phase A |  | System shall be able to assign multiple instruments for preparation. |  | Customisation | 2
complete | Sample |  | 4.2.1.1.5 | Phase A |  | System shall be able to assign test to an operator for each test. | Must | Customisation
complete | Assignment |  | 4.2.1.1.12 | Phase B |  | System shall be able to assign test based on the versatility matrix from OSDP system once integrated. |  | Customisation | 2
complete | Assignment |  | 4.2.1.1.13 | Phase B |  | System shall be able to assign test based on the sample status (Waiting to start). |  | Customisation | 2
complete | Assignment |  | 4.2.1.1.14 | Phase B |  | System shall be able to auto assign for the current date based on the schedule configured. |  | Customisation | 2
complete | Assignment |  | 4.2.1.1.15 | Phase B |  | System shall be able to monitor samples on a certain interval basis and assign it. |  | Customisation
complete | Assignment |  | 4.2.1.1.16 | Phase A |  | System shall be able to assign samples manually. | Must | Customisation | 2
complete | Assignment |  | 4.2.1.1.17 | Phase B |  | System shall be able to assign samples based on SAP test skip lot rules. |  | Customisation
complete | Assignment |  | 4.2.1.1.18 | Phase B |  | System shall be able to assign samples based on other pending QC works. |  | Customisation | 2
complete | Assignment |  | 4.2.1.2.1 | Phase B |  | System shall be able to modify schedule. | Must | Customisation
complete | Assignment |  | 4.2.1.4.2 | Phase B |  | System shall be follow FIFO rules based on sample receiving date when assigning tasks. |  | Customisation | 2
complete | Interface |  | 4.2.1.4.3 | Phase A |  | System shall assign tasks before the inspection lot only for JIT materials. And the results shall be pushed to sap if inspection lot is created. |  | Customisation
complete | Assignment |  | 4.2.1.5.1 | Phase B |  | System shall assign task based on priority rules once sample arrives. |  | Customisation | 2
complete | Assignment |  | 4.2.1.6.1 | Phase B |  | System shall allow to create tasks based on calendar schedule. |  | Customisation | 2
complete | Assignment |  | 4.2.1.8.1 | Phase A |  | System shall allow user maintain master data for shift schedule by week. Number of shift and shift hour of each shift shall be configurable in the master data at plant level. |  | Customisation | 9
complete | Assignment |  | 4.2.1.9.1 | Phase B |  | System shall check skill when assigning tasks to operator. |  | Customisation | 3
complete | Interface |  | 4.2.1.9.2 | Phase B |  | System shall be able to support skill shall be sync with OSDP system if there is OSDP in plant. Refer to 4.5.1.14 |  | Customisation
complete | Dashboard |  | 4.2.1.10.1 | Phase A |  | System shall have dashboard which display tests, test status, product number, product name, batch number, user ID. inspection lot, inspection lot(standard test), test. request#(non-standard test) |  | Customisation
complete | Interface |  | 4.2.1.11.1 | Phase B |  | System shall create tasks for samples based on specific frequency. |  | Customisation
complete | Dashboard |  | 4.4.1.1.1 | Phase A |  | System shall support dashboard display overview of inspection lot on daily, weekly, monthly views. |  | Customisation | 2
complete | Sample |  | 4.4.1.1.3 | Phase A |  | System shall be able to record standard cycle time and actual cycle time under test level. |  | Customisation | 2
complete | Dashboard |  | 4.4.1.1.5 | Phase A |  | System shall be able to display sample storage location and sample quantity. |  | Customisation | 1
complete | Dashboard |  | 4.4.1.1.6 | Phase A |  | System shall support dashboard showing lab equipment availability. Equipment usage can be tracked trhough scanning before and after the usage. |  | Customisation | 3
complete | Dashboard |  | 4.6.1.1.1 | Phase A |  | System shall be able to display sample status by lab/plant/country/henkel network/global in dashboard. |  | Customisation | 2
complete | Dashboard |  | 4.6.1.1.2 | Phase A |  | System shall be able to display sample status by daily/weekly/monthly/yearly in dashboard. |  | Customisation | 2
complete | Dashboard |  | 4.6.1.1.3 | Phase A |  | System shall support different sample status, including completed, in progress, received, cancelled, retained. |  | Customisation | 2
complete | Dashboard |  | 4.6.1.1.4 | Phase A |  | System shall include sample type in report, detailed sample type refers to RTM 4.5.1 items. |  | Customisation | 1
complete | Dashboard |  | 4.6.1.2.1 | Phase A |  | System shall support to display dashboard with sample status in real time. |  | Customisation
complete | Dashboard |  | 4.6.1.3.1 | Phase A |  | System shall display task list in specific time period. |  | Customisation | 1
complete | Dashboard |  | 4.6.1.3.2 | Phase A |  | System shall display task list related to work. |  | Customisation | 1
complete | Dashboard |  | 4.6.1.3.3 | Phase A |  | System shall display task list in real time. |  | Customisation
complete | Dashboard |  | 4.6.1.4.1 | Phase A |  | System shall display overdue task list. |  | Customisation | 1
complete | Dashboard |  | 4.6.1.5.2 | Phase A |  | System shall support dashbord to display instrument list including (instrument ID, instrument Type, instrument Status, days in available, days out of service) |  | Customisation | 3
complete | Dashboard |  | 4.6.1.6.1 | Phase A |  | System shall support display instrument utilization by daily/weekly/monthly/yearly in dashboard. |  | Customisation | 3
complete | Dashboard |  | 4.6.1.6.2 | Phase A |  | Total Actual Instrument working Hours= End time by scanning minus Start time by scanning |  | Customisation | 1
complete | Dashboard |  | 4.6.1.6.3 | Phase A |  | Total working hours is related to shift arrangement,calculated as off-duty time minus on-duty time. |  | Customisation | 2
complete | Dashboard |  | 4.6.1.7.1 | Phase A |  | System shall support display work load by plant/duration. |  | Customisation | 2
complete | Dashboard |  | 4.6.1.8.1 | Phase A |  | System shall support display work load with number of inspection lot, number of sample, number of test, number of skip lot, number of skip test in folder. |  | Customisation
complete | Dashboard |  | 4.6.1.10.1 | Phase A |  | System shall be able to automatically calculate QC release time for individual batch/test request. |  | Customisation | 1
complete | Dashboard |  | 4.6.1.10.2 | Phase A |  | Sample Release Time=Time End-Time Start |  | Customisation | 1
complete | Dashboard |  | 4.6.1.10.5 | Phase A |  | Time Start: sample received time (actual time barcode scan in QC) of inspection lot |  | Customisation | 1
pending | Dashboard |  | 4.6.1.11.1 |  | Mark | Henkel need to check what's the report of Productivity Henkel:QC productivity can be valuated according to 3 formulas: QC efficiency 1=Direct QC test LH(IQC+IPQC+OQC,including retest)/QC attendence hours QC efficiency 2=(Direct QC test LH+non-standard QC test LH)/QC attendence hours QC efficiency 3=(Direct QC test LH+non-standard QC test LH+indirect QC LH)/QC attendence hours Standard testing - Direct QC Test Non standard testing - Indirect QC QC attendance hours - based on the shift management |  | Customisation | 3
complete | Dashboard |  | 4.6.1.12.2 | Phase A |  | System shall display on time proportion for PM for each instrument by report. |  | Customisation | 2
complete | Dashboard |  | 4.6.1.13.1 | Phase A |  | System shall display the quantity of calibration record and on time proporation for maintenance by report. |  | Customisation | 3
complete | Dashboard |  |  | Phase A |  | System shall display on time proportion for MSA task by report. |  | Customisation | 3
complete | Dashboard |  | 4.6.1.15.1 | Phase A |  | System shall display stock status and safety stock status(the stock is below the minumum stock and above the maximum stock) in specific time period by report. |  | Customisation | 2
complete | Dashboard |  | 4.6.1.16.1 | Phase A |  | System shall display retain sample in dashboard by storage location, retain status , number of expired retains, disposed retains by date. |  | Customisation | 2
complete | Sample |  | 4.7.2.1.1 | Phase A |  | System shall support multiple languages. (Chinese and English will be implemented in Dragon pilot phase.) |  | Customisation
complete | Stock |  | 4.8.5.1.5 | Phase A |  | System shall be able to set and configurate maximum quantity in stock mangement. |  | Customisation | 2
complete | Stock |  | 4.8.5.6.3 | Phase A |  | System shall be able to warining for Exceed amount storage in folder. |  | Customisation | 3
complete | LES |  | 4.8.5.7.2 | Phase B |  | System shall create LES tasks for solution preparations automatically when stock is below safety stock or about to expire. |  | Customisation | 2
complete | LES |  | 4.8.5.7.4 | Phase B |  | System shall automatically assign the solution preparation LES tasks to specific user. |  | Customisation | 3
Note on D1: This is colmun is typically used to refer to the URS or RFP requirement number
Note on G2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Which has an inspection lot(automatic)
Note on I5: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Why is this item customisation as it is standard functionality Reply: All with interface is customisation for us
Note on G7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: It can be barcode or QRCode
Note on G21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Or store the file in a configurable shared drive Reply: Manually or automatically Reply: Automatically to a sharefolder
Note on G80: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: what is the basis of automatic assignment? Reply: Can be found in task list Reply: Solution preparation will also be maintained in skill matrix.

## Interface
gathering status | Module | Req. No. | URS Ref. | Delivery Phase | Functional Area / Workshop | Requirement | Priority | Type | Estimate
complete | IM Integartion |  | 4.3.2.1.1 | Phase A |  | System shall be able to capture data from Henkel type A. |  | Interface |  | 97
complete | IM Integartion |  | 4.3.2.1.2 | Phase A |  | System shall be able to capture data from Henkel type B. |  | Interface
complete | Interface |  | 4.5.1.1 | Phase A |  | System shall support download inspection lot from SAP to QCLAD. |  | Interface | 5
complete | Interface |  | 4.5.1.2 | Phase A | Mark | System shall support download Analysis from SAP to QCLAD. |  | Interface | 5
complete | Interface |  | 4.5.1.3 | Phase A |  | System shall support download MLP from SAP to QCLAD. |  | Interface | 5
complete | Interface |  | 4.5.1.4 | Phase A |  | System shall support download Substance from SAP to QCLAD. |  | Interface | 5
complete | Interface |  | 4.5.1.5 | Phase A |  | System shall support download GHS from SAP to QCLAD. Refer to 4.8.5.8.2 |  | Interface | 5
complete | Interface |  | 4.5.1.6 | Phase A |  | System shall support download Plant Code from SAP to QCLAD. |  | Interface | 5
complete | Interface |  | 4.5.1.7 | Phase A |  | System shall support to upload result value from QCLAD to SAP. |  | Interface | 5
complete | Interface |  | 4.5.1.8 | Phase A | Mark | System shall support to upload result value from eCOA to QCLAD. |  | Interface | 5
complete | Interface |  | 4.5.1.9 | Phase B |  | System shall push notify information(including resample and adjustment) to Henkel smart factory. |  | Interface | 14
complete | Interface |  | 4.5.1.10 | Phase B |  | System shall pull result information from Henkel smart factory. |  | Interface | 7
complete | Interface |  | 4.5.1.11 | Phase B |  | System shall support to upload result value from QCLAD to Henkel smart factory. |  | Interface | 7
complete | Interface |  | 4.5.1.12 | Phase B |  | System shall support to upload sample states from QCLAD to Henkel smart factory. |  | Interface | 7
complete | Interface |  | 4.5.1.13 | Phase B |  | System shall push/pull adjustment quantity information from/to Henkel smart factory. |  | Interface | 14
complete | Interface |  | 4.5.1.14 | Phase B |  | System shall pull operator skill information from Henkel Skill Matrix. |  | Interface | 8
complete | Interface |  | 4.5.2.1 | Phase A |  | Refer to 4.5.1.1 & 4.5.1.2 & 4.5.1.3 above. |  | Interface
complete | Interface |  | 4.5.3.1 |  |  | Refer to 4.5.1.1 & 4.5.1.2 & 4.5.1.3 above. |  | Interface
complete | Interface |  | 4.8.1.5.2 | Phase B |  | System shall sync user’s testing skill from Henkel skill matrix tool. |  | Interface
complete | Interface |  | 4.8.2.3.2 | Phase B |  | System shall sync user’s testing skill from Henkel skill matrix tool. |  | Interface
complete | Interface |  | 4.8.4.1.2 | Phase A |  | System shall align MLP data with SAP. |  | Interface
complete | Interface |  | 4.8.5.8.2 | Phase A |  | System shall sync GHS information form SAP to substance in QCLAD. Refer to 4.5.1.5 |  | Interface
Note on D1: This is colmun is typically used to refer to the URS or RFP requirement number